Gyn/Pelvis (5040 Gy)

|  |  |
| --- | --- |
| **Target Coverage – Priority 2** | |
| **Target** | **Priority 2- Target Coverage Goal** |
| **PTV\_p** | **Dmean ≥ Rx p** |
| **105% Rx ≥ Dmax (0.1cc)** |
| **PTV\_n** | **Rx p ≥ Dmax (1cc)** |
| **D95% ≥ Rx n1** |
| **D98% ≥ 90% Rx** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Organs at Risk** | | |  |
| **Organ** | **Priority 5 –Planning Goal** | **Priority 3 – Minor Deviation Goal** | **Priority 1- Constraint** |
| **Bag\_Bowel** | **V40 Gy ≤ 20%** | **V40 Gy ≤ 30%** | **Dmax (1cc) ≤ 52Gy** |
| **V45 Gy < 195 cc** |  |  |
| **Bladder** | **V45 Gy ≤ 30%** | **V45 Gy ≤ 40%** |  |
| **V50 Gy ≤ 10%** |  |  |
| **Bone\_Marrow**    **Median < 34.2** | **V10 Gy ≤ 80%** | **V10 Gy ≤ 90%** |  |
| **V20 Gy ≤ 70%** | **V20 Gy ≤ 75%** |  |
| **V40 Gy ≤ 37%** |  |  |
| **V30 Gy ≤ 50%** |  |  |
| **CaudaEquina** | **V45 Gy ≤ 0.03 cc** | **V50 Gy ≤ 0.03 cc** |  |
| **CaudaEquina\_PRV05** | **V50 Gy ≤ 2%** |  |  |
| **Femur\_Head\_L/R** | **V30 Gy ≤ 20%** | **V30 Gy ≤ 25%** |  |
| **Kidney\_L/R** | **V12 Gy ≤ 50%** | **V12 Gy ≤ 55%** |  |
| **V20 Gy ≤ 30%** | **Dmean ≤ 15 Gy** |  |
| **Rectum** | **V40 Gy ≤ 60%** | **V40 Gy ≤ 80%** |  |
| **SpinalCord** | **V45 Gy ≤ 0.03 cc** | **V50 Gy ≤ 0.03 cc** |  |
| **SpinalCord\_PRV05** | **V50 Gy ≤ 2%** |  |  |

\* Add obj for max dose to Bag\_bowel @ 52 Gy

Per Dr. J, max could go as high as 54 Gy